2020 Category A City: LAKEVILLE, MN

Currently a Step 1 GreenStep City

(joined November 2017)

Which assessment?    Preliminary: for city review                Final: May 1st recommendation to LMC

Assessor and date:     Philipp Muessig,  	1/2/20

NO

9

NO

Total BPs implemented:                        All required* BPs done?  	                BP distribution requirements* met?

Recommend June 2020 public recognition at:   Step 2 (any 8 BPs)                           Step 3

Recognition at a Step 3 level involves implementing, at a minimum:

- BP 11 (Complete Streets): 3 actions

- BP 12 (Mobility Options) 2 actions

- Action 15.1 (purchasing policy)

- BP 24 (Engagement, Metrics): 2 actions

- BP 25 (Green Business): 2 actions

- Action 29.1 (emergency preparedness)

- 1 additional best practice

* note: requirements are for Step 3 recognition

| Best practices (required in bold) BP implemented? Action summary by # and star level achieved Action rules (req. actions in bold) |  |  |
| --- | --- | --- |
| YES BUILDINGS: distribution requirement is 2 BPs ; are 2 BPs done? |  |  |
| 1. Public Actions 1 & 2; & one action from actions 3-7 | YES | 1.1 COMPLETE @ 3 STARS – data since 2010; trends for each building are reviewed periodically to gauge energy performance and look for ways to improve efficiency 1.2 COMPLETE @ 3 STARS -- 2018 updates to building automation software in 12 buildings; 4x/yr. filter changes; occupancy sensors in garage; high-efficiency condensing boiler; LED lighting retrofits when tubes need replacement 1.3 COMPLETE @ 3 STARS -- lighting upgrades, HVAC improvements, and building envelope improvements, potential savings total over $161,000 |
| 2. Private any two actions | YES | 2.1 COMPLETE @ 3 STARS – 2018 City began irrigation audits, at 2 home-owners’ associations to review system components (controllers, sprinkler heads, rain sensing technology), scheduling practices, and uniformity of water application 2.5 COMPLETE @ 1 STAR -- 2007 water use ordinance restricts watering between 11:00 – 5:00 daily |
| 3. New action 1 or 2; one from 3-5 |  |  |
| 4. Lighting/Signals 2 actions with one from 5-8 | YES | 4.1 COMPLETE @ 3 STARS -- ordinance requires that new street lights, public & private building exterior lights, and parking lot lights for City-owned AND private buildings/facilities be dark sky-compliant 4.5 COMPLETE @ 2 STARS -- solar-powered LEDs – permanent and movable - used in driver feedback sign displays, at school zone and park pedestrian crossings & as needed for traffic calming/safety 4.6 COMPLETE @ 3 STARS -- 3 parking lots at City facilities relamped with Dark Sky-compliant LED lighting; all replacements for wall packs & bollard lighting are the same; 2019+ city plan to relamp exterior lighting of all city facilities |
| 5. Reuse any one action |  |  |
| YES LAND USE: 2 BPs required; are 2 BPs done? |  |  |
| 6. Comp Plan Actions 1 & 2 | YES | 6.1 COMPLETE @ 3 STARS -- 20-yr. Comp Plan and 2020-2024 CIP addresses the importance of sustainability as an underlying theme for all elements in the plan, addresses infill growth, concurrency & phased expansion 6.2 COMPLETE @ 3 STARS – over 40 references to the Comprehensive Plan exist in the zoning code and related documents |
| 7. Density any one action |  |  |
| 8. Mixed Uses any two actions |  |  |
| 9. Highway Development any one action |  |  |
| 10. Conservation Development any one action | YES | NO 10.6 COMPLETE @ 2 STARS -- zoning ordinances identify specific development requirements for shoreland overlay districts, public and open space districts, flood plain overlay districts; <6” tree preservation |
| TRANSPORTATION: 2 BPs required; are 2 BPs done? |  |  |
| 11. Complete Green Streets 1; & two additional actions | NO |  |
| 12. Mobility Options any two actions | NO |  |
| 13. Fleets any two actions |  |  |
| 14. TOD / TDM any two actions |  | YES |
| ENVIRONMENTAL MANAGEMENT: 4 BPs required; are 4 done? |  |  |
| 15. Purchasing 1; and one additional action | NO | 15.5 COMPLETE @ 2 STARS – road projects include recycled concrete up to 40/50% by volume in the base/wear course, old asphalt in base course |
| 16. Trees any two actions | YES | 16.1 COMPLETE @ 1 STAR -- Tree City for 25 years in 2019 16.5 COMPLETE @ 3 STARS -- owners/developers prepare a tree preservation plan for each graded lot; security deposit; tree loss replaced at 2-1 |
| 17. Stormwater any one action | YES | 17.5 COMPLETE @ 1 STAR – City design standards for rain gardens / infiltration practices; 2 design workshops/yr. with Dakota Co. SWCD |
| 18. Parks & Trails any three actions |  |  |
| 19. Surface Water if state public water: 4; and one additional action if no state water: any one action |  | 19.3 COMPLETE @ 2 STARS -- extensive lake, wetland professional/ volunteer monitoring and ext. annual report thereon 19.4 COMPLETE @ 3 STARS -- shoreland overlay district, CUPs required; for PUDs 50%+ in open space, 50-70% of shore impact zone left in natural state; generally 75%+ pervious required |
| 20. Water / Wastewater 1 & 2; and one additional | YES | 20.1 COMPLETE @ 3 STARS – 7% energy use reduction at water plant, per 1000 gallons, 2008-2016; VF drives save on demand charges; in peak shaving program 20.2 COMPLETE @ 3 STARS -- thorough monitoring and planning for routine rehabbing of water production wells 20.3 COMPLETE @ 2 STARS -- I&I program includes selective placement of flow meters to target televising/lining; maintenance hole sealing; staff contact with property owners about disconnects |
| 21. Septics any one action | YES | 21.4 COMPLETE @ 2 STARS -- City adopted, with amendments, the Dakota County subsurface sewage treatment ordinance |
| 22. Solid Waste 1 or 2; & one from 4-8 |  |  |
| 23. Local Air Quality any two actions |  | NO |
| ECON & COMM DVLP: 3 BPs required; are 3 done? |  |  |
| 24. Benchmarks & Involvement Actions 1 & 2 | NO |  |
| 25. Green Businesses any two actions | NO |  |
| 26. Renewable Energy any two actions |  |  |
| 27. Local Food any one action |  |  |
| 28. Business Synergies action 2, 3 or 4 |  |  |
| 29. Climate Adaptation action 1 (includes targeted emergency communications in appropriate languages for vulnerable populations) | NO |  |

LAKEVILLE

- Dark Sky-compliant lights required for City-owned and private parking lots, new street lights, and private and public building exterior lights

- Extensive lake, wetland monitoring, and annual reporting, by professionals & volunteers

- Shoreland overlay district, CUPs required; for PUDs 50%+ in open space, 50-70% of shore impact zone left in natural state; generally  75%+ pervious required

- 7% energy use reduction at water plant, per 1000 gallons, 2008-2016

- 2018 City irrigation audits at 2 home-owners’ associations to review system components (controllers, sprinkler heads, rain sensing technology), scheduling practices, and uniformity of water application

- No watering between 11 – 5 daily by 2007 water use ordinance

- $161,000 potential yearly savings from lighting upgrades, HVAC improvements, City building envelope improvements