2019 Category A City: LAKEVILLE, MN

Currently a Step 1 GreenStep City

(joined November 2017)

Which assessment?    Preliminary: for city review                Final: May 1st recommendation to LMC

Assessor and date:     Philipp Muessig,  	4/29/19

4

NO

NO

Total BPs implemented:                        All required* BPs done?  	                BP distribution requirements* met?

Recommend June public recognition at:   Step 2 (any 8 BPs)                           Step 3

Recognition at a Step 3 level involves, at a minimum:

- Implementing 16 best practices, including:

  - 10 specific BPs:  #1, #6, #11, #12, #15, #16, #17, #24, #25, #29

  - 2 Building BPs, 2 Land Use BPs, 2 Transportation BPs, 4 Env. Mgt. BPs, 3 Comm./Econ. BPs

- Completing 27 actions, including:

  - 9 specific actions:  #1.1 & #1.2;  #6.1 & #6.2;  #11.1;  #15.1;  #24.1 & #24.2; #29.1

* note: requirements are for Step 3 recognition

| Best practices (required in bold) BP implemented? Action summary by # and star level achieved Action rules (req. actions in bold) |
| --- |
| YES BUILDINGS: distribution requirement is 2 BPs ; are 2 BPs done? |
| 1. Public Actions 1 & 2; & one action from actions 3-7 | YES | 1.1 COMPLETE @ 3 STARS – data since 2010; trends for each building are reviewed periodically to gauge energy performance and look for ways to improve efficiency 1.2 COMPLETE @ 3 STARS -- 2018 updates to building automation software in 12 buildings; 4x/yr. filter changes; occupancy sensors in garage; high-efficiency condensing boiler; LED lighting retrofits when tubes need replacement 1.3 COMPLETE @ 3 STARS -- lighting upgrades, HVAC improvements, and building envelope improvements, potential savings total over $161,000 |
| 2. Private any two actions | YES | 2.1 COMPLETE @ 3 STARS – 2018 City began irrigation audits, at 2 home-owners’ associations to review system components (controllers, sprinkler heads, rain sensing technology), scheduling practices, and uniformity of water application 2.5 COMPLETE @ 1 STAR -- 2007 water use ordinance restricts watering between 11:00 – 5:00 daily |
| 3. New action 1 or 2; one from 3-5 |  |  |
| 4. Lighting/Signals 2 actions with one from 5-8 |  |  |
| 5. Reuse any one action |  | NO |
| LAND USE: 2 BPs required; are 2 BPs done? |
| 6. Comp Plan Actions 1 & 2 | NO |  |
| 7. Density any one action |  |  |
| 8. Mixed Uses any two actions |  |  |
| 9. Highway Development any one action |  |  |
| 10. Conservation Development any one action |  | NO |
| TRANSPORTATION: 2 BPs required; are 2 BPs done? |
| 11. Complete Green Streets 1; & two additional actions | NO |  |
| 12. Mobility Options any two actions | NO |  |
| 13. Fleets any two actions |  |  |
| 14. TOD / TDM any two actions |  | NO |
| ENVIRONMENTAL MANAGEMENT: 4 BPs required; are 4 done? |
| 15. Purchasing 1; and one additional action | NO |  |
| 16. Trees any two actions | YES | 16.1 COMPLETE @ 1 STAR -- Tree City for 25 years in 2019 16.5 COMPLETE @ 3 STARS -- owners/developers prepare a tree preservation plan for each graded lot; security deposit; tree loss replaced at 2-1 |
| 17. Stormwater any one action | YES | 17.5 COMPLETE @ 1 STAR – City design standards for rain gardens / infiltration practices; 2 design workshops/yr. with Dakota Co. SWCD |
| 18. Parks & Trails any three actions |  |  |
| 19. Surface Water if state public water: 4; and one additional action if no state water: any one action |  |  |
| 20. Water / Wastewater 1 & 2; and one additional |  |  |
| 21. Septics any one action |  |  |
| 22. Solid Waste 1 or 2; & one from 4-8 |  |  |
| 23. Local Air Quality any two actions |  | NO |
| ECON & COMM DVLP: 3 BPs required; are 3 done? |
| 24. Benchmarks & Involvement Actions 1 & 2 | NO |  |
| 25. Green Businesses any two actions | NO |  |
| 26. Renewable Energy any two actions |  |  |
| 27. Local Food any one action |  |  |
| 28. Business Synergies action 2, 3 or 4 |  |  |
| 29. Climate Adaptation action 1 (includes targeted emergency communications in appropriate languages for vulnerable populations) | NO |  |